|  | Division of Planning & Engineering Office of Road Design 700 East Broadway Avenue Pierre, South Dakota 57501 O: 605.773.3433 ¦ F: 605.773.2614 dot.sd.gov |
| --- | --- |

NH-CR 0046(69)288, Charles Mix County, PCN 05JN

SD46 in Wagner

Structure #

Grading, Surfacing, Storm Sewer, Curb & Gutter, Sidewalk, Lighting, Signals

UTILITY COORDINATION MEETING

November 15, 2021, 10:00 AM

Introductions

Attendance:  See attendance roster on last page of this document

Discussion Points:

- Bronson Blow, SDDOT Utility Coordinator, opened the meeting.

- Ryon Bollinger, SDDOT Road Design, gave an overview of the project.

- This HWY project is currently scheduled for construction in 2025.

- General Comments:

Prior to any additional utility surveying  being performed, the Utility Coordinator requests discussion with the Area Surveyor to be able to coordinate with the utility companies to ensure all additional facilities will be marked in coordination with the SDDOT Surveyor’s schedule.

- City of Lake Norden –

- The City has buried water lines and Sanitary Sewer lines along and crossing SD28 in multiple locations within the City of Lake Norden.

- Raw Water supply line in private easement along the north side of SD28 from approximate station 361+90 to 369+40 then crosses SD28 to the south at 370+80.

- Potable water line along the north and south side of SD28 from approximate station 365+40 to 381+00.

- Sanitary Sewer crossing SD28 at approximate station 370+98 with a manhole in the north ditch.

- Sanitary sewer along north side of SD28 from MH at 370+98 to manhole at approximate station 381+25

- Otter Tail Power –

- The Company has an overhead power line along the north side of SD28 in private easement from SD21 or 353+00 to 365+97 and should not be impacted by the HWY construction.

- Has an OH power line crossing SD28 at approximate stations 351+00 and 365+97.

- Has underground power lines along and crossing SD28 supplying electricity to the street lights which will be abandoned because of the new lighting design.

- Kingbrook Rural Water –

- The Company has a buried 3” water line, within existing public ROW, crossing SD28 at approximate station 369+40 then runs west along the north side of SD28 to approximate station 354+00 then goes north along the east side of SD21.

- Has a 2 inch waterline along the north side of SD28 from US81 in public ROW for approximately 0.5 miles then in private easement for approximately 1.5 miles – This line is not depicted on the plans – Additional Survey Needed.

- Has a water line crossing SD28 at 449th Ave then goes west along the north side of SD28 for approximately 3/8 of a mile to approximate station 310+50.

- The Company plans to install a new water line in the north ditch of SD28 from the water plant in Lake Norden to the west side of the City Park.  This installation should be coordinated with SDDOT Area Office as best as can be so it is placed in a location to not be impacted by this HWY project.

- H-D Electric  –

- The Company has overhead distribution power along the south side of SD28 from the beginning of the project to approximate station 99+55.

- Has OH power along the north side of SD28 from 101+40 to 115+30

- Has OH power along the south side of SD28 from 117+15 to 145+11

- Has Underground along the south side of SD28 from 145+11 to 157+10

- Has OH power along the south side of SD28 from 157+10 to 426+75

- Has UG power along the north side of SD28 from 379+08 to 382+46

- Has OH power along the north side of SD28 from 428+91 to the end of the project

- Has OH crossing at the following stations:  100+54, 116+21, 169+09, 211+88, 248+30, 275+04, 294+59, 384+42, 416+30, 427+95, 470+77, 492+36, 521+52 and 543+69.

- Has UG crossings at the following stations:  55+37, 63+17, 221+37, 257+09, 310+81, 324+10, 352+16, 373+93, 376+04, 382+74 and 581+82.

- Northwestern Energy –

- The Company has a high pressure 4” steel gas line coming in from the north west of Lake Norden to a valve assembly at approximate station 373+75-80’R.

- Has buried 4” gas line along the north side of SD28 in private easement from 373+75 to 374+90 then crosses SD28 to the south along the west side of Dakota St.

- Has a 2” gas line along the south side of SD28 in private easement from 364+98 to 374+90

- Has a 2” gas line in the north ditch of SD28 from 374+90 to 379+25.o

- Has buried 2” gas lines crossing SD28 at approximate stations 378+60.

- Interstate Telecommunications –

- The Company has buried fiber optic cable along the north side of SD28 from the beginning of the project to 385+86.

- Has buried fiber optic cable along the south side of SD28 from 354+27 to 374+65

- Has a buried fiber optic cable along the south side of SD28 from Lake Norden to east side of Lake then jumps to the north side, continues to 452nd Ave then goes north.  This cable is Not Shown in SDDOT plans.  Additional Survey Needed.

- Has a buried fiber cable along the north side of SD28 from Lake Norden to US81. This cable is Not Shown.  Additional Survey Needed.

- Has Assumed crossing but not shown in the vicinity of stations:  99+70, 189+40, 253+20 and 341+80.  Additional Survey Needed.

- Has crossings at approximate stations:  353++83, 354+27, 374+65, 378+04 and 379+63.

- Mediacom –

- The Company has fiber optic cable buried along the north side of SD28 from Lake Norden to US81.

- Has buried copper cable along the south side of SD28 from Lake Norden to US81.

- None of Mediacom’s facilities appear to be shown in the plans.  Additional Survey Needed.

- Sioux Rural Water –

- The Company has a water line crossing SD28 at approximate station 10+50.

- Has a water line along the south side of SD28 in private easement from 10+50 to 62+50

- Has an assumed water line crossing near station 55+00 and 189+50 not shown on the plans.  Need to Verify and Survey as Needed.

- Has a water line crossing at 62+50.

- Has a water line along the north side of SD28 in private easement from station 62+50 to 274+05.

- Has water line crossing at approximate stations 103+50, 116+50, 255+10 and 274+05.

- Has a waterline from 276+05 to the vicinity of station 294+50 along the north side of SD28 which is not shown on the plans.  Additional Survey Needed.